## VWR
Offered Info
Part number | Vendor | Description | Description | Description | Cross | ENERGY STAR | VWR Part Number | Description | Offered QTY | Offered UOM | Comments | CompSize | CompUOM | CompQty | UOM1 | UOM1wUnits | UOM1_Qty | UOM2 | UOM2wUnits | UOM2_Qty | UOM3 | UOM3wUnits | UOM3_Qty | VAS_Code | VAS_Code_Description | Supplier Part Number | Supplier Name
FC660h | Eppendorf | Ultra-Low Temperature Freezer | Manual | Swinging | Exact | ENERGY STAR | 10753-512 | EPPENDORF CRYOCUBE FC660 23FT3 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | F660420005 | EPPENDORF BIO TOOLS
F740HI | Eppendorf | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76040-124 | FREEZER F740HI CRYOCUBE 208V 3 LEFT DOOR | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | F740420015 | EPPENDORF BIO TOOLS
F570h | Eppendorf | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 10753-552 | EPPENDORF CRYOCUBE F570H 20FT3 115V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | F570220005 | EPPENDORF BIO TOOLS
PR061WWG/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-330 | HC REFRIGERATOR 2.5CF UC LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR061WWG/0 | NOR-LAKE SCIENTIFIC
PR061WWW/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-352 | HC REFRIGERATOR 5.2CF | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR061WWW/0 | NOR-LAKE SCIENTIFIC
PR031WWG/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-328 | HC REFRIGRATOR 2.5CF UC | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR031WWG/0 | NOR-LAKE SCIENTIFIC
PR031WWW/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-322 | HC REFRIGERATOR 2.5CF UC | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR031WWW/0 | NOR-LAKE SCIENTIFIC
PF021WWW/0A | Nor-Lake Scientific | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 76271-336 | HC FREEZER UC 1.3CF AUTO | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF021WWW/0A | NOR-LAKE SCIENTIFIC
PF021WWWLH/0A | Nor-Lake Scientific | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 76271-338 | HC FREEZER UC 1.7CF AUTO LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF021WWWLH/0A | NOR-LAKE SCIENTIFIC
PR011WWG/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-324 | HC REFRIGRATOR 1CF UC | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR011WWG/0 | NOR-LAKE SCIENTIFIC
PR011WWGLH/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-326 | HC REFRIGRATOR 1CF UC LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR011WWGLH/0 | NOR-LAKE SCIENTIFIC
PR011WWW/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-318 | HC REFRIGERATOR 1CF UC | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR011WWW/0 | NOR-LAKE SCIENTIFIC
PF051WWW/0M30 | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-340 | HC FREEZER UC 4CF (-30 C) | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF051WWW/0M30 | NOR-LAKE SCIENTIFIC
PF051WWW/0M40 | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-342 | HC FREEZER UC 4CF (-40 C) | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF051WWW/0M40 | NOR-LAKE SCIENTIFIC
PF021WWW/0M | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-332 | HC FREEZER UC 1.7CF | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF021WWW/0M | NOR-LAKE SCIENTIFIC
PF021WWWLH/0M | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-334 | HC FREEZER UC 1.7CF LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF021WWWLH/0M | NOR-LAKE SCIENTIFIC
PF051SSS/0M | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-310 | HC FREEZER UC 4.2CF SS | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF051SSS/0M | NOR-LAKE SCIENTIFIC
PF051SSSLH/0M | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-312 | HC FREEZER UC 4.2CF SS LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF051SSSLH/0M | NOR-LAKE SCIENTIFIC
PF051WWW/0M | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-302 | HC FREEZER UC 4.2CF | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF051WWW/0M | NOR-LAKE SCIENTIFIC
PF051WWWADA/0M | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-306 | HC FREEZER UC 4.2CF ADA | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF051WWWADA/0M | NOR-LAKE SCIENTIFIC
PF051WWWLH/0M | Nor-Lake Scientific | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-304 | HC FREEZER UC 4.2CF LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PF051WWWLH/0M | NOR-LAKE SCIENTIFIC
PR051WWG/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-294 | HC REFRIGERATOR UC 4.6CF GD | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWG/0 | NOR-LAKE SCIENTIFIC
PR051WWGADA/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-298 | HC REFRIGERATOR UC 4.6CF (ADA) | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWGADA/0 | NOR-LAKE SCIENTIFIC
PR051WWGLH/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-296 | HC REFRIGERATOR UC 4.6CF GD LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWGLH/0 | NOR-LAKE SCIENTIFIC
PR051WWW/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-286 | HC REFRIGERATOR UC 4.6CF SD | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWW/0 | NOR-LAKE SCIENTIFIC
PR051WWWLH/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-288 | HC REFRIGERATOR UC 4.6CF SD LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWWLH/0 | NOR-LAKE SCIENTIFIC
PR051SSS/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-290 | HC REFRIGERATOR UC 4.5CF SS | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051SSS/0 | NOR-LAKE SCIENTIFIC
PR051SSSLH/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-292 | HC REFRIGERATOR UC 4.5CF SS LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051SSSLH/0 | NOR-LAKE SCIENTIFIC
PR051WWGADALH/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-300 | HC REFRIGERATOR UC 4.6CF (ADA LH) | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWGADALH0 | NOR-LAKE SCIENTIFIC
PR051WWWADA/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-354 | HC REFRIGERATOR UC 4.6CF ADA | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWWADA/0 | NOR-LAKE SCIENTIFIC
PR051WWWADALH/0 | Nor-Lake Scientific | General Purpose Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-356 | HC REFRIGERATOR UC 4.6CF ADA LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR051WWWADALH0 | NOR-LAKE SCIENTIFIC
PR011WWWLH/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76271-320 | HC REFRIGERATOR 1CF UC LH | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | PR011WWWLH/0 | NOR-LAKE SCIENTIFIC
NSBDR492SSG/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging | Exact | ENERGY STAR | 76307-452 | REFRIGERATOR 115 V SS GLASS DOOR 46 CF | 1 | EA | [15 empty] | NSBDR492SSG/0 | NOR-LAKE SCIENTIFIC
NSBDR492SSS/0 | Nor-Lake Scientific | High Performance Refrigerator | Manual | Swinging | Exact | ENERGY STAR | 76307-456 | REFRIGERATOR 115 V SS SOLID DOOR 46 CF | 1 | EA | [15 empty] | NSBDR492SSS/0 | NOR-LAKE SCIENTIFIC
MPR-514-PA | Panasonic | High Performance Refrigerator | Automatic | Sliding | Exact | ENERGY STAR | 97035-146 | REFRIGERATOR PHAR 17.2CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MPR514PA | PANASONIC HEALTHCARE CORP OF N.A.
MDF-U731M-PA | Panasonic | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 10067-690 | -30C BIOMEDICAL FREEZER 24.4 CF. 115V | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MDFU731MPA | PANASONIC HEALTHCARE CORP OF N.A.
MDF-U731-PA | Panasonic | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 89429-298 | FRZR AD -30C 22.3 CU FT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MDFU731PA | PANASONIC HEALTHCARE CORP OF N.A.
MPR-1411-PA | Panasonic | High Performance Refrigerator | Automatic | Swinging,Left,Right | Exact | ENERGY STAR | 97050-018 | REFRIGERATOR 48.4 CU.FT 115V | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MPR1411PA | PANASONIC HEALTHCARE CORP OF N.A.
MPR-721-PA | Panasonic | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 97050-014 | REFRIGERATOR 24.2 CU.FT 115V | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MPR721PA | PANASONIC HEALTHCARE CORP OF N.A.
MDF-DU502VH-PA | Panasonic | Ultra-Low Temperature Freezer | Manual | Swinging | Exact | ENERGY STAR | 76269-676 | VIP ECO -86 C UPRIGHT FREEZER 18.6 CU.FT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MDF-DU502VH-PA | PANASONIC HEALTHCARE CORP OF N.A.
MPR-1014-PA | Panasonic | High Performance Refrigerator | Automatic | Sliding | Exact | ENERGY STAR | 97035-150 | REFRIGERATOR PHAR 36.5 CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MPR1014PA | PANASONIC HEALTHCARE CORP OF N.A.
MDF-DU702VH-PA | Panasonic | Ultra-Low Temperature Freezer | Manual | Swinging | Exact | ENERGY STAR | 76020-716 | ULTRA-LOW TEMP UPRIGHT FREEZER 25.7 CFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MDF-DU702VH-PA | PANASONIC HEALTHCARE CORP OF N.A.
MDF-DU702VH-PA | PHCbi | Ultra-Low Temperature Freezer | Manual | Swinging | Exact | ENERGY STAR | 76020-716 | ULTRA-LOW TEMP UPRIGHT FREEZER 25.7 CFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MDF-DU702VH-PA | PANASONIC HEALTHCARE CORP OF N.A.
MDF-DU502VH-PA | PHCbi | Ultra-Low Temperature Freezer | Manual | Swinging | Exact | ENERGY STAR | 76269-676 | VIP ECO -86 C UPRIGHT FREEZER 18.6 CU.FT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | MDF-DU502VH-PA | PANASONIC HEALTHCARE CORP OF N.A.
PR-L2466W-PA | PHCbi | High Performance Refrigerator | Manual | Swinging,Right | Exact | ENERGY STAR | 76266-250 | UNDERCOUNTER/BENCHTOP REFRIGERATOR1.62CF | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | Standard Plus/Non-Exclusive | PR-L2466W-PA | PANASONIC HEALTHCARE CORP OF N.A.
MDF-DU702VHA-PA | PHCbi | Ultra-Low Temperature Freezer | Manual | Swinging | Exact | ENERGY STAR | 76305-598 | UPRIGHT FREEZER ECO SERIES VIP 115V 729L | 1 | EA | [15 empty] | MDFDU702VHA-PA | PHC CORPORATION OF N
MDF-DU502VHA-PA | PHCbi | Ultra-Low Temperature Freezer | Manual | Swinging | Exact | ENERGY STAR | 76305-596 | UPRIGHT FREEZER ECO SERIES VIP 115V 528L | 1 | EA | [15 empty] | MDFDU502VHA-PA | PHC CORPORATION OF N
SU780XLE | Stirling Ultracold | Ultra-Low Temperature Freezer | Manual | Right | Exact | ENERGY STAR | 75845-814 | STIRLING ULT FREEZER SU780XLE 120V/240V | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | Elite Tier/Non-Exclusive | SU780XLE-PWR | GLOBAL COOLING, INC.
TSX2304BA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-040 | REFRIGERATOR BLOOD 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2304BA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2320EA | Thermo Fisher | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 75839-180 | FREEZER ENZYME 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2320EA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2320FA | Thermo Fisher | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 75839-182 | FREEZER MANUAL 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2320FA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305CA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-976 | CHROMATOGRAPHY REFRIGERATOR 120V/60HZ | 1 | EA | [15 empty] | TSX2305CA | THERMO SCIENTFIC(ASH
TSX2305CD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-978 | CHROMATOGRAPHY REFRIGERATOR 208V/60HZ | 1 | EA | [15 empty] | TSX2305CD | THERMO SCIENTFIC(ASH
TSX2305CV | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-980 | CHROMATOGRAPHY REFRIGERATOR 230V/50HZ | 1 | EA | [15 empty] | TSX2305CV | THERMO SCIENTFIC(ASH
TSX2305SA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-046 | REFRIGERATOR SOLID 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305SA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2330FA | Thermo Fisher | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-096 | FREEZER LAB 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2330FA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2330FD | Thermo Fisher | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-088 | FREEZER LAB 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2330FD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2330FV | Thermo Fisher | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-120 | FREEZER LAB 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2330FV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2330LA | Thermo Fisher | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-098 | FREEZER PLASMA 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2330LA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2330LD | Thermo Fisher | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-090 | FREEZER PLASMA 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2330LD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2330LV | Thermo Fisher | High Performance Freezer | Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-122 | FREEZER PLASMA 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2330LV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX4505CA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Sliding | Exact | ENERGY STAR | 76299-964 | CHROMATOGRAPHY REFRIGERATOR 120V/60HZ | 1 | EA | [15 empty] | TSX4505CA | THERMO SCIENTFIC(ASH
TSX2320ED | Thermo Fisher | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 75839-108 | FREEZER ENZYME 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2320ED | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2320EV | Thermo Fisher | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 75839-116 | FREEZER ENZYME 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2320EV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2320FD | Thermo Fisher | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 75839-110 | FREEZER MANUAL 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2320FD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2320FV | Thermo Fisher | High Performance Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 75839-118 | FREEZER MANUAL 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2320FV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2304BV | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-092 | REFRIGERATOR BLOOD 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2304BV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305GA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-042 | REFRIGERATOR GLASS 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305GA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305GD | Thermo Fisher | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-102 | REFRIGERATOR GLASS 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305GD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305GV | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-094 | REFRIGERATOR GLASS 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305GV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305PA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-044 | REFRIGERATOR PHARM 23CF 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305PA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2304BD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-100 | REFRIGERATOR BLOOD 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2304BD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305PD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-104 | REFRIGERATOR PHARM 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305PD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305PV | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-112 | REFRIGERATOR PHARM 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305PV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305SD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-106 | REFRIGERATOR SOLID 23CF 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305SD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX2305SV | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging,Right | Exact | ENERGY STAR | 75839-114 | REFRIGERATOR SOLID 23CF 230V/50HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX2305SV | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX40086A | Thermo Fisher | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76019-750 | TSX ULTRA FREEZER 115V/60 HZ -86C 400BOX | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX40086A | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX50086A | Thermo Fisher | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76019-454 | ULTRA FREEZER TSX 115V -86 DEG C 500BX | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX50086A | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX60086A | Thermo Fisher | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76019-458 | ULTRA FREEZER TSX 115V -86 DEG C 600 BOX | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX60086A | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX70086A | Thermo Fisher | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76019-462 | ULTRA FREEZER TSX 115V -86 DEG C 700 BOX | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX70086A | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX4505CD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Sliding | Exact | ENERGY STAR | 76299-966 | CHROMATOGRAPHY REFRIGERATOR 208V/60HZ | 1 | EA | [15 empty] | TSX4505CD | THERMO SCIENTFIC(ASH
TSX4505CV | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Sliding | Exact | ENERGY STAR | 76299-968 | CHROMATOGRAPHY REFRIGERATOR 230V/50HZ | 1 | EA | [15 empty] | TSX4505CV | THERMO SCIENTFIC(ASH
TSX4505GA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Sliding | Exact | ENERGY STAR | 76208-610 | REFRIGERATOR SLIDING DOOR STD 120V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX4505GA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX4505GD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Sliding | Exact | ENERGY STAR | 76208-612 | REFRIGERATOR SLIDING DOOR STD 208V/60HZ | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX4505GD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5004BA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-598 | REFRIGERATOR BLOOD BANK 120V/60HZ 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5004BA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5004BD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-600 | REFRIGERATOR BLOOD BANK 208V/60HZ 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5004BD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5005CA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76299-970 | CHROMATOGRAPHY REFRIGERATOR 120V/60HZ | 1 | EA | [15 empty] | TSX5005CA | THERMO SCIENTFIC(ASH
TSX5005CD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76299-972 | CHROMATOGRAPHY REFRIGERATOR 208V/60HZ | 1 | EA | [15 empty] | TSX5005CD | THERMO SCIENTFIC(ASH
TSX5005CV | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76299-974 | CHROMATOGRAPHY REFRIGERATOR 230V/50HZ | 1 | EA | [15 empty] | TSX5005CV | THERMO SCIENTFIC(ASH
TSX5005GA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-590 | REFRIGERATOR 120V/60HZ GLASS DOOR 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5005GA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5005GD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-592 | REFRIGERATOR 208V/60HZ GLASS DOOR 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5005GD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5005PA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-594 | PHARMACY REFRIGERATOR 120V/60 HZ 50CU FT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5005PA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5005PD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-596 | PHARMACY REFRIGERATOR 208V/60HZ 50 CU FT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5005PD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5005SA | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-586 | REFRIGERATOR 120V/60HZ SOLID DOOR 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5005SA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5005SD | Thermo Fisher | High Performance Refrigerator | Semi-Automatic | Swinging | Exact | ENERGY STAR | 76208-588 | REFRIGERATOR 208V/60HZ SOLID DOOR 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5005SD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5030FA | Thermo Fisher | High Performance Freezer | Automatic | Swinging | Exact | ENERGY STAR | 76208-602 | LAB REFRIGERATOR W/DOOR 120V/60HZ 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5030FA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5030FD | Thermo Fisher | High Performance Freezer | Automatic | Swinging | Exact | ENERGY STAR | 76208-604 | LAB REFRIGERATOR W/DOOR 208V/60HZ 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5030FD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5030LA | Thermo Fisher | High Performance Freezer | Automatic | Swinging | Exact | ENERGY STAR | 76208-606 | PLASMA REFRIGERATOR STD 120V/60HZ 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5030LA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX5030LD | Thermo Fisher | High Performance Freezer | Automatic | Swinging | Exact | ENERGY STAR | 76208-608 | PLASMA REFRIGERATOR STD 208V/60HZ 50CUFT | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX5030LD | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX50086D | Thermo Fisher Scientific | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76019-456 | ULTRA FREEZER TSX 208-230V/50-60HZ 500BX | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX50086D | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX60086D | Thermo Fisher Scientific | Ultra-Low Temperature Freezer | Manual | Swinging,Right | Exact | ENERGY STAR | 76019-460 | ULTRA FREEZER TSX 208-230V/50-60HZ 600BX | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX60086D | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX505SA | Thermo Fisher Scientific LLC | High Performance Refrigerator | Variable | Swinging,Right | Exact | ENERGY STAR | 75993-424 | REFRIGERATOR SOLID DOOR TSX UC REF 5-15P | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX505SA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSX505GA | Thermo Fisher Scientific LLC | High Performance Refrigerator | Variable | Swinging,Right | Exact | ENERGY STAR | 75993-426 | REFRIGERATOR GLASS DOOR TSX UC REF 5-15P | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | Select Tier/Non-Exclusive | TSX505GA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSG505GA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76204-746 | TSG 5 CU FT GLASS DOOR UC REF 120/60 | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | TSG505GA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSG505SA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76204-742 | TSG 5 CU FT SOLID DOOR UC REF 120/60 | 1 | EA |  | 1 | ST | 1 | EA | EA(1items) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | Standard Tier/Non-Exclusive | TSG505SA | THERMO SCIENTFIC(ASHEVILLE)LLC
TSG30CPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-480 | REFRIGERATOR TSG 30 PNT GLASS 764 L | 1 | EA | [15 empty] | TSG30CPGA | THERMO SCIENTFIC(ASH
TSG30CSGA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-482 | REFRIGERATOR TSG 30 SST GLASS 764 L | 1 | EA | [15 empty] | TSG30CSGA | THERMO SCIENTFIC(ASH
TSG30RPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-506 | REFRIGERATOR TSG 30 PNT GLASS 764 L | 1 | EA | [15 empty] | TSG30RPGA | THERMO SCIENTFIC(ASH
TSG30RPSA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-524 | REFRIGERATOR TSG 30 PNT SOLID 764 L | 1 | EA | [15 empty] | TSG30RPSA | THERMO SCIENTFIC(ASH
TSG30RSGA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-526 | REFRIGERATOR TSG 30 SST GLASS 764 L | 1 | EA | [15 empty] | TSG30RSGA | THERMO SCIENTFIC(ASH
TSG30RSSA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-528 | REFRIGERATOR TSG 30 SST SOLID 764 L | 1 | EA | [15 empty] | TSG30RSSA | THERMO SCIENTFIC(ASH
TSG45CPLA | Thermo Scientific | High Performance Refrigerator | Automatic | Sliding | Exact | ENERGY STAR | 76299-484 | REFRIGERATOR TSG 45 PNT SLIDE 1274 L | 1 | EA | [15 empty] | TSG45CPLA | THERMO SCIENTFIC(ASH
TSG45CSLA | Thermo Scientific | High Performance Refrigerator | Automatic | Sliding | Exact | ENERGY STAR | 76299-486 | REFRIGERATOR TSG 45 SST SLIDE 1274 L | 1 | EA | [15 empty] | TSG45CSLA | THERMO SCIENTFIC(ASH
TSG45RPLA | Thermo Scientific | High Performance Refrigerator | Automatic | Sliding | Exact | ENERGY STAR | 76299-508 | REFRIGERATOR TSG 45 PNT SLIDE 1274 L | 1 | EA | [15 empty] | TSG45RPLA | THERMO SCIENTFIC(ASH
TSG45RSLA | Thermo Scientific | High Performance Refrigerator | Automatic | Sliding | Exact | ENERGY STAR | 76299-510 | REFRIGERATOR TSG 45 SST SLIDE 1274 L | 1 | EA | [15 empty] | TSG45RSLA | THERMO SCIENTFIC(ASH
TSG49CPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-488 | REFRIGERATOR TSG 49 PNT GLASS 1387 L | 1 | EA | [15 empty] | TSG49CPGA | THERMO SCIENTFIC(ASH
TSG49CSGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-490 | REFRIGERATOR TSG 49 SST GLASS 1387 L | 1 | EA | [15 empty] | TSG49CSGA | THERMO SCIENTFIC(ASH
TSG49RPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-512 | REFRIGERATOR TSG 49 PNT GLASS 1387 L | 1 | EA | [15 empty] | TSG49RPGA | THERMO SCIENTFIC(ASH
TSG49RPSA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-514 | REFRIGERATOR TSG 49 PNT SOLID 1387 L | 1 | EA | [15 empty] | TSG49RPSA | THERMO SCIENTFIC(ASH
TSG49RSGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-516 | REFRIGERATOR TSG 49 SST GLASS 1387 L | 1 | EA | [15 empty] | TSG49RSGA | THERMO SCIENTFIC(ASH
TSG49RSSA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-518 | REFRIGERATOR TSG 49 SST SOLID 1387 L | 1 | EA | [15 empty] | TSG49RSSA | THERMO SCIENTFIC(ASH
TSG72CPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-492 | REFRIGERATOR TSG 72 PNT GLASS 2038 L | 1 | EA | [15 empty] | TSG72CPGA | THERMO SCIENTFIC(ASH
TSG72CSGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-494 | REFRIGERATOR TSG 72 SST GLASS 2038 L | 1 | EA | [15 empty] | TSG72CSGA | THERMO SCIENTFIC(ASH
TSG72RPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-520 | REFRIGERATOR TSG 72 PNT GLASS 2038 L | 1 | EA | [15 empty] | TSG72RPGA | THERMO SCIENTFIC(ASH
TSG72RSGA | Thermo Scientific | High Performance Refrigerator | Automatic | Left,Swinging,Right | Exact | ENERGY STAR | 76299-522 | REFRIGERATOR TSG 72 SST GLASS 2038 L | 1 | EA | [15 empty] | TSG72RSGA | THERMO SCIENTFIC(ASH
TSG12RPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-496 | REFRIGERATOR TSG 12PNT GLASS 12CU.FT | 1 | EA | [15 empty] | TSG12RPGA | THERMO SCIENTFIC(ASH
TSG25RPGA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-498 | REFRIGERATOR TSG 25PNT GLASS 23CU.FT | 1 | EA | [15 empty] | TSG25RPGA | THERMO SCIENTFIC(ASH
TSG25RPSA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-500 | REFRIGERATOR TSG 25PNT SOLID 23CU.FT | 1 | EA | [15 empty] | TSG25RPSA | THERMO SCIENTFIC(ASH
TSG25RSGA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-502 | REFRIGERATOR TSG 25SST GLASS 23CU.FT | 1 | EA | [15 empty] | TSG25RSGA | THERMO SCIENTFIC(ASH
TSG25RSSA | Thermo Scientific | High Performance Refrigerator | Automatic | Swinging,Right | Exact | ENERGY STAR | 76299-504 | REFRIGERATOR TSG 25SST SOLID 23CU.FT | 1 | EA | [15 empty] | TSG25RSSA | THERMO SCIENTFIC(ASH

## Fisher Scientific
Non-K6 Option | Green Options | Energy Star Certified | EPA SNAP Refrigerant | Column1 | Both Estar and SNAP
| TSX1205GA | Yes | Yes |  | SNAP Only
| TSX1205GD | Yes | Yes
| TSX3005GA | Yes | Yes
| TSX3005GD | Yes | Yes
| TSX1205SA | Yes | Yes
| TSX1205SD | Yes | Yes
| TSX3005SA | Yes | Yes
| TSX3005SD | Yes | Yes
| TSX1205PA | Yes | Yes
| TSX1205PD | Yes | Yes
| TSX3005PA | Yes | Yes
| TSX3005PD | Yes | Yes
| TSX3005CA | Yes | Yes
| TSX3005CD | Yes | Yes
| TSX1204BA | Yes | Yes
| TSX1204BD | Yes | Yes
| TSX3004BA | Yes | Yes
| TSX3004BD | Yes | Yes
| TSX1230FA | Yes | Yes
| TSX1230FD | Yes | Yes
| TSX3030FA | Yes | Yes
| TSX3030FD | Yes | Yes
| TSX1230LA | Yes | Yes
| TSX1230LD | Yes | Yes
| TSX3030LA | Yes | Yes
| TSX3030LD | Yes | Yes
| TSX3020FA | Yes | Yes
| TSX3020FD | Yes | Yes
| TSX3020EA | Yes | Yes
| TSX3020ED | Yes | Yes
REL2304A | TSX2305GA | Yes | Yes
REL2304D | TSX2305GD | Yes | Yes
RGL2304A | TSX2305SA | Yes | Yes
RGL2304D | TSX2305SD | Yes | Yes
REB2304A | TSX2304BA | Yes | Yes
REB2304A | TSX2304BD | Yes | Yes
RPR2304A | TSX2305PA | Yes | Yes
RPR2304D | TSX2305PD | Yes | Yes
ULT2330A | TSX2330FA | Yes | Yes
ULT2330D | TSX2330FD | Yes | Yes
UGL2320A | TSX2320FA | Yes | Yes
UGL2320D | TSX2320FD | Yes | Yes
UEN2320A | TSX2320EA | Yes | Yes
UEN2320D | TSX2320ED | Yes | Yes
UFP2330A | TSX2330LA | Yes | Yes
UFP2330D | TSX2330LD | Yes | Yes
| TSX4505GA | Yes | Yes
| TSX4505GD | Yes | Yes
| TSX5005SA | Yes | Yes
| TSX5005SD | Yes | Yes
| TSX5005GA | Yes | Yes
| TSX5005GD | Yes | Yes
| TSX5005PA | Yes | Yes
| TSX5005PD | Yes | Yes
| TSX5004BA | Yes | Yes
| TSX5004BD | Yes | Yes
| TSX5030FA | Yes | Yes
| TSX5030FD | Yes | Yes
| TSX5030LA | Yes | Yes
| TSX5030LD | Yes | Yes
| TSX2305CA | Yes | Yes
| TSX2305CD | Yes | Yes
| TSX4505CA | Yes | Yes
| TSX4505CD | Yes | Yes
| TSX5005CA | Yes | Yes
| TSX5005CD | Yes | Yes
RGL404A | TSX505GA | Yes | Yes
RGL404D | TSX505GD | Yes | Yes
REL404A | TSX505SA | Yes | Yes
REL404D | TSX505SD | Yes | Yes
NA | TSX40086A | Yes | Yes | ULT
NA | TSX40086D | Yes | Yes | ULT
NA | TSX50086A | Yes | Yes | ULT
NA | TSX50086D | Yes | Yes | ULT
NA | TSX60086A | Yes | Yes | ULT
NA | TSX60086D | Yes | Yes | ULT
NA | TSX70086A | Yes | Yes | ULT
UXF70086D | TSX70086D | Yes | Yes | ULT
| TSG30CPGA | Yes | Yes
| TSG30CSGA | Yes | Yes
| TSG45CPLA | Yes | Yes
| TSG45CSLA | Yes | Yes
| TSG49CPGA | Yes | Yes
| TSG49CSGA | Yes | Yes
| TSG72CPGA | Yes | Yes
| TSG72CSGA | Yes | Yes
| TSG12RPGA | Yes | Yes
| TSG25RPGA | Yes | Yes
| TSG25RPSA | Yes | Yes
| TSG25RSGA | Yes | Yes
| TSG25RSSA | Yes | Yes
| TSG30RPGA | Yes | Yes
| TSG30RPSA | Yes | Yes
| TSG30RSGA | Yes | Yes
| TSG30RSSA | Yes | Yes
| TSG45RPLA | Yes | Yes
| TSG45RSLA | Yes | Yes
| TSG49RPGA | Yes | Yes
| TSG49RPSA | Yes | Yes
| TSG49RSGA | Yes | Yes
| TSG49RSSA | Yes | Yes
| TSG72RPGA | Yes | Yes
| TSG72RSGA | Yes | Yes
MR05PA-SAEE-TS | TSG505GA | Yes | Yes
MR05PA-SAEE-TS | TSG505GD | Yes | Yes
MR05PA-SAEE-TS | TSG505SA | Yes | Yes
MR05PA-SAEE-TS | TSG505SD | Yes | Yes
NA | TSG205SA | Yes | Yes
| FBG30CPGA | Yes | Yes
| FBG30CSGA | Yes | Yes
| FBG45CPLA | Yes | Yes
| FBG45CSLA | Yes | Yes
| FBG49CPGA | Yes | Yes
| FBG49CSGA | Yes | Yes
| FBG72CPGA | Yes | Yes
| FBG72CSGA | Yes | Yes
| FBG12RPGA | Yes | Yes
| FBG25RPGA | Yes | Yes
| FBG25RPSA | Yes | Yes
| FBG25RSGA | Yes | Yes
| FBG25RSSA | Yes | Yes
| FBG30RPGA | Yes | Yes
| FBG30RPSA | Yes | Yes
| FBG30RSGA | Yes | Yes
| FBG30RSSA | Yes | Yes
| FBG45RPLA | Yes | Yes
| FBG45RSLA | Yes | Yes
| FBG49RPGA | Yes | Yes
| FBG49RPSA | Yes | Yes
| FBG49RSGA | Yes | Yes
| FBG49RSSA | Yes | Yes
| FBG72RPGA | Yes | Yes
| FBG72RSGA | Yes | Yes
| FBG505SA | Yes | Yes
| FBG505SD | Yes | Yes
| FBG505GA | Yes | Yes
| FBG505GD | Yes | Yes